## WellHist
Well Name | TPS-P1.1
Cluster | TPS-P1
Field/PL/Unit
Area | Lahendong
Well History
Date | Type | Remarks
2023-04-17 | Well Spud In
2023-05-11 | RCBL | Semen di atas Tie Back dalam kondisi bagus, sementara di bawah tie back tidak dalam kondisi bagus (terdapat channeling / free pipe)
2023-05-11 | ALFA | Terdapat indikasi permeable zone pada kedalaman 900 - 1007 mMD
2023-06-01 | MFC | Casing 13-3/8" dalam kondisi bagus, maksimum penetration @ 707.8 mMD (26 %)
2023-06-01 | MTD | Casing 13-3/8" dalam kondisi bagus, maksimum metal loss @ 348.41 mMD (20.17%), Casing 20" dalam kondisi bagus, maksimum metal loss @ 396.9 mMD (16.52%)
2023-06-01 | PTS Injection | PTS Injection dengan rate 750 GPM. Feedzone @ 1768 mMD (20%), 1912 mMD (40%), 2126 mMD (23%), >2329 mMD (17%)
2023-06-02 | Gross Permeability Test | II = 1241.4 lpm kscg
2023-06-02 | Fall Off Test | kh: 72.13, skin: -3.4
2023-06-03 | PT Heating up | HUP 1D, MCD: 2403 mMD, MaxP: 171 bara @ 2370 mMD, MaxT: 232 deg C @ 1034 mMD
2023-06-05 | Well Completed
2023-06-06 | PT Heating up | HUP 4D, MCD: 2387 mMD, MaxP: 171 bara @ 2370 mMD, MaxT: 232 deg C @ 1034 mMD
2023-06-07 | PT Heating up | HUP 5D, MCD: 2403 mMD, MaxP: 170 bara @ 2370 mMD, MaxT: 235 deg C @ 1034 mMD
2023-06-12 | PT Heating up | HUP 10D, MCD: 2403 mMD, MaxP: 171 bara @ 2370 mMD, MaxT: 239 deg C @ 1149 mMD
2023-06-19 | PT Heating up | HUP 17D, MCD: 2403 mMD, MaxP: 169 bara @ 2373 mMD, MaxT: 242.6 deg C @ 1150 mMD
14 Juli 2023 | PT Heating up | HUP 42D, MCD: 2387 mMD, MaxP: 160.7 bara @ 2250 mMD, MaxT: 248.3 deg C @ 1300 mMD
01 Agustus 2023 | PT Heating up | HUP 60D, MCD: 2387 mMD, MaxP: 168.9 bara @ 2372 mMD, MaxT: 250.17 deg C @ 1378 mMD
08-11 Desember 2023 | Production Test | Metode Horizontal P-Lips, TKS : 5.1-5.3 barg, FCV 100%
12 Desember 2023 | Production Test | Metode Horizontal P-Lips, TKS : 5.9-6.2 barg, FCV 60%
2024-01-05 | PT Shut In | MaxP: 162.88bara @ 2300 mMD, MaxT: 252.97 deg C @ 1400 mMD
2024-01-15 | PTS Flowing | Feedzone @ 1015 mMD (12%), 1770 mMD (15%), 1900 mMD (53%), >2090 mMD (20%)
2024-01-16 | Production Test | FCV : 25%, WHP : 6.5 - 7.34 barg
2024-11-12 | PT Shut In | MCD: 2339 mMD, MaxP: 164.36 bar @ 2300 mMD, MaxT: 239.37 deg C @ 1150 mMD
2025-05-28 | PT Shut In | MCD: 2341 mMD, MaxP: 162.38 bar @ 2300 mMD, MaxT: 248.36 deg C @ 1400 mMD

## WellConfig
Lubang | Interval kedalaman (meter) | Tipe Casing | Casing | Kedalaman Casing | Collapse Pressure | Burst Rating
|  |  |  | (mKU) | (psi) | (psi)
36" | 28.5 | Stove Pipe | 30" | 0 - 28
26" | 452 | K55 #133 ppf BTC | 20" | 0 - 449.72 | 1500 | 3060
17-1/2" | 1014 | L80 #68 ppf BTC | 13-3/8" | 0 - 1013.74 | 2260 | 5020
12-1/4" | 2001 | K55 #40.5 ppf BTC | 10-3/4 Perf Liner | 978.94 - 2001
9-7/8" | 2403 | K55 #24 ppf BTC | 8-5/8" Per Liner | 1974.13 - 2403
Berdasarkan Rig Floor : 9.65 m
Rekap Thickness Casing Head
Sisi (deg) | Tanggal |  | Tanggal |  | Tanggal
| Tebal (mm) | Nilai min (mm) | Tebal (mm) | Nilai min (mm) | Tebal (mm) | Nilai min (mm)
0
90
180
270
Rangkaian Kepala Sumur
Note on P1: DELL: Yield, BTS
Note on J19: DELL: Harus dimintakan saat ke Lokasi

## Logging
Tahun | Jajak Sinker | Go Devil |  |  |  |  | Scale Catcher | [5 empty] | Impression Block
|  | 8.5" | 8" | 5-1/2" | 3-1/2" | 1-1/4" x 2" | 8" | 5-1/2" | 4" | 3" | 2" | Scale Sample | 8.5" | 5-1/2" | 3-1/2" | Ket
| (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) |  | (m) | (m) | (m)
[7 empty] | - | - |  | - |  | - | - | - | - | -
Tahun | ALFA | Maks Depth |  | Section | Kesimpulan
| (mku) | (mku) |  |  | (mku)
Tahun | MTD | Maks Depth |  | Section | Kesimpulan
| (mku) | (mku) |  |  | (mku)
Tahun | MFC | Maks Depth |  | Section | Kesimpulan
| (mku) | (mku) |  |  | (mku)
Note on D4: Ahmad Fahmi Fanani: ada overpull 220, 322, 392, 542, 552, 562, 592, 712 m

## List
Well Spud in | Casing Head | 20" x 13-3/8" | ANSI 1500
Completion test | Expansion Spool | 13-3/8" x 9-5/8 " | ANSI 900
Water Loss Test | Annulus Valve-1 | 13-5/8” x 14" x 3-1/8" | ANSI 600
Gross Permeability Test | Annulus Valve-2 | 13-5/8” x 12" x 12" | ANSI 900 x 600
Fall Off Test | Side Valve-1 | 11” x 10" x 3-1/8"
PT Heating up | Side Valve-2 | 13-5/8” x 10" x 10"
Well Completed | Master Valve-1 | 10"
Production Test | Master Valve-2 | 12"
PT Shut In | Tee Flange | 13-5/8"
PT Bleeding | Cross Tee | 14"
PT Injection | Wing Valve | 3-1/8”
PTS Flowing | Wing Valve-2 | 10” x 3-1/8”
PTS Injection | Adapter Flange | 12” x 3-1/8”
PTS Shut In | Top Valve | 14" x 3-1/8"
Put On Production | N/A | N/A
Put On Injecion
Bleeding
Hole Cleaning
Acidizing
Fishing job
Hidrofract
MTD
MFC
ALFA
RCBL
Go Devil
Scale Catcher
Impression Block
Stimulation
Downhole Sampling
Downhole Video
Tracer Test
Tracer Flow Test
Others